Maintaining your energy system and devices

Plan and template

The creation of a maintenance plan for your installed energy devices within your facility is strongly recommended and should outline a structured schedule and set of procedures related to the requirements of each of your energy devices. This is to ensure your devices remain safe, functional and in good working order to ensure optimum performance over their lifetimes.

Instruction

To create and deliver an effective plan, we recommend that you:

- Understand your devices through information in the product manuals, installers advice and/or system operation tutorials combined with working knowledge gained through use.

- Document the product specific information i.e. manuals, warranties, insurance docs, installers contact details, Micro-generation certificate (MCS) numbers etc. and making sure it is collated, stored and accessible to all who need it

- Assign named individuals who will be responsible for delivering the maintenance plan.

- Detail a regime of maintenance for each device.

- Use a fault and repair log.

- Integrate this Energy Systems and Devices Maintenance plan into your overall facilities maintenance plan, and to

- Ensure continuity whereby maintenance planning and tasks should be a fixed standing item on any periodic building management or committee meeting agenda.

The templates are separated into these sections:

- List of equipment.

- Personnel.

- Document management.

- Regime per device.

- Fault and repair log.

The Microsoft Word document is designed to be easily adaptable (either as an online or hard copy) and should be used to suit your own project.

As a guide we have included a populated example of the template, followed by a blank version to use as you wish.

For further support with creating your plan, please feel free to reach out info@localenergy.scot.

(Template example)

Energy maintenance plan for Anytown Community Centre

| Maintaining your energy system - Installed devices and systems |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Device/asset | Make and model | Installer | Commissioning date | Location | Installer tutorial |
| Air source heat pump | Mitsubishi A100 | Heat Source Inc | 21/09/2025 | Plant room | Yes |
| Photovoltaic array | Phillips zx300 | Sky ray solar | 30/06/2025 | Rear roof elevation | Yes |
| Inverter | Zuton 3 | Sky ray solar | 30/06/2025 | Plant room | Yes |
| Distribution system | 16 zone manifold | ABC Plumbing | 21/09/2025 | Store cupboard | Yes |
| Distribution system | Grundfos 3 speed circulating pump | ABC Heating | 21/09/2025 | Plant room | Yes |

| Maintaining your energy system - Personnel |  |  |  |
| --- | --- | --- | --- |
| Maintenance team member(s) | Position within org | Availability | Contact details |
| Alex | Facilities Manager 1 | Weekdays (A.M/P.M) | 01234 765432 Any person@ xxx.org |
| Alice | Facilities Manager 2 | Evenings | 0896500074 Alice@lookingglass.com |
| Lesley | Standby Maintenance | When required | 01396 146782 L.well@maintain.com |
| Notes: |  |  |  |

| Maintaining your energy system – Document management |  |  |  |
| --- | --- | --- | --- |
| Energy device(s) | Manual hard copy available | Manual stored where | Available online link |
| Air source heat pump | Yes | Energy folder (Office) Drop box | www.heatpump.com |
| Heat distribution and controls | Yes | Energy folder Drop Box | www.abcplum.com |
| Photovoltaic Array | Yes | Energy folder Drop box | www.skyray.com |
| Inverter | Yes | Energy folder Drop box | www.skyray.com |
| Warrantied item(s) | Warranty document complete | Document stored where | Critical warranty dates |
| Air source heat pump | Yes, and read | Energy folder (Office) Drop box | Warranty period end xx/xx/xxxx |
| Heat distribution and controls | Yes, and read | Energy folder (Office) Drop box | 1 year from commissioning |
| Photovoltaic array | Yes, and read | Energy folder (Office) Drop box | Warranty period end xx/xx/xxxx |
| Inverter | Yes, and read | Energy folder (Office) Drop box | Warranty period end xx/xx/xxxx |
| Insured item(s) | Insurance document valid | Document stored where | Critical insurance dates |
| Air source heat pump | Yes | Energy folder (Office) Dropbox etc | Renewal date xx/xx/xxxx |
| Solar PV array | Yes | Energy folder (Office) Dropbox etc | Renewal date xx/xx/xxxx |
| Inverter | Yes | Energy folder (Office) Dropbox etc | Renewal date xx/xx/xxxx |
| Notes: |  |  |  |

| Maintaining your energy system - regime |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Device/Asset |  | 60kW Air Source Heat Pump |  |  |  |
| Device asset MCS reg no |  | Nap - 40000 |  |  |  |
| Installer contact details |  | Heat sources, 21 Heating Crescent, Warm Town. 07775 92000, heat@source.com |  |  |  |
| Installer MCS reg no |  | Nap - 400019 |  |  |  |
| Associated installer (if different) |  | Wires and pipes, Electrician and plumbers, Warm Town |  |  |  |
| Maintenance tasks | Frequency |  | Scheduled date | Responsible persons | Completed date |
| Clean filters | Monthly |  | xx/xx/xxxx | Alice, Facilities Manager. 2 |  |
| PAT testing | yearly |  | xx/xx/xxxx | Facilities Manager. 2 |  |
| Notes: |  |  |  |  |  |

| Maintaining your energy system - regime |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Device/Asset |  | 60kW Photovoltaic array |  |  |  |
| Device asset MCS reg no |  | Nap - 40001 |  |  |  |
| Installer contact details |  | Heat sources, 21 Electric avenue, Warm town. 07775 92000, heat@source.com |  |  |  |
| Installer MCS reg no |  | Nap - 400019 |  |  |  |
| Associated installer (if different) |  | Wires and pipes, Electrician and plumbers, Warm Town |  |  |  |
| Maintenance tasks | Frequency |  | Scheduled date | Responsible persons | Completed date |
| Panel clean | monthly |  | xx/xx/xxxx |  | Ongoing |
| PAT testing | yearly |  | xx/xx/xxxx |  | Ongoing |
| Notes: |  |  |  |  |  |

| Maintaining your energy system – Fault and repair log |  |  |  |  |
| --- | --- | --- | --- | --- |
| Fault and date | Nature of repair | Date of repair | Repaired by | List any new part (if required) |
| System failure | Re-gas condenser | xx/xx/xxxx | Heat sources ltd | 2ls R410a refrigerant |
| Notes: |  |  |  |  |

(For community facility use)

Energy maintenance plan for …

| Maintaining your energy system - Installed devices and systems |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Device/asset | Make and model | Installer | Commissioning date | Location | Installer tutorial |

| Maintaining your energy system - Personnel |  |  |  |
| --- | --- | --- | --- |
| Maintenance team member(s) | Position within org | Availability | Contact details |
| Notes: |  |  |  |

| Maintaining your energy system – Document management |  |  |  |
| --- | --- | --- | --- |
| Energy device(s) | Manual hard copy available | Manual stored where | Available online link |
| Warrantied item(s) | Warranty document complete | Document stored where | Critical warranty dates |
| Insured item(s) | Insurance document valid | Document stored where | Critical insurance dates |
| Notes: |  |  |  |

| Maintaining your energy system - regime |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Device/Asset |  |  |  |  |  |
| Device asset MCS reg no |  |  |  |  |  |
| Installer contact details |  |  |  |  |  |
| Installer MCS reg no |  |  |  |  |  |
| Associated installer (if different) |  |  |  |  |  |
| Maintenance tasks | Frequency |  | Scheduled date | Responsible persons | Completed date |
| Notes: |  |  |  |  |  |

| Maintaining your energy system - regime |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Device/Asset |  |  |  |  |  |
| Device asset MCS reg no |  |  |  |  |  |
| Installer contact details |  |  |  |  |  |
| Installer MCS reg no |  |  |  |  |  |
| Associated installer (if different) |  |  |  |  |  |
| Maintenance tasks | Frequency |  | Scheduled date | Responsible persons | Completed date |
| Notes: |  |  |  |  |  |

| Maintaining your energy system – Fault and repair log |  |  |  |  |
| --- | --- | --- | --- | --- |
| Fault and date | Nature of repair | Date of repair | Repaired by | List any new part (if required) |
| Notes: |  |  |  |  |